## Sheet1
# units |  | Level 1 or 2 | Garage | Panel location | Panel size | Demand Calculation | circuit | longer wire / conduit | underground conduit | add sub-panel | upgrade service | Control Switch | Wiring Cost | Permit Fee | EVSE Cost | Total Cost | % homes | Total cost per type | Weighted Average Cost
[7 empty] | 120 | 300 | 500 | 250 | 2500 | 500 |  | $57-$594 | 500
1 | NEW | 120 V 20A | Attached | Panel in Garage | Same Panel | Same Capacity | 120 |  |  |  |  | 0 | 120 |  | 500 | 620 | 12 | 7440
1 | NEW | 120 V 20A | Attached | Panel in Garage | Same Panel | Upgrade Capacity | 120 |  |  |  | 2500 | 0 | 2620 |  | 500 | 3120 | 3 | 9360
1 | NEW | 120 V 20A | Attached | Panel in House | Upgrade Panel | Same Capacity | 120 | 300 |  | 250 |  | 0 | 670 |  | 500 | 1170 | 4 | 4680
1 | NEW | 120 V 20A | Attached | Panel in House | Upgrade Panel | Upgrade Capacity | 120 | 300 |  | 250 | 2500 | 0 | 3170 |  | 500 | 3670 | 1 | 3670 | 1257.5
1 | NEW | 120 V 20A | Detached | Panel in Garage | Same Panel | Same Capacity | 120 |  |  |  |  | 0 | 120 |  | 500 | 620 | 48 | 29760
1 | NEW | 120 V 20A | Detached | Panel in Garage | Same Panel | Upgrade Capacity | 120 |  |  |  | 2500 | 0 | 2620 |  | 500 | 3120 | 12 | 37440
1 | NEW | 120 V 20A | Detached | Panel in House | Upgrade Panel | Same Capacity | 120 |  | 500 | 250 |  | 0 | 870 |  | 500 | 1370 | 16 | 21920
1 | NEW | 120 V 20A | Detached | Panel in House | Upgrade Panel | Upgrade Capacity | 120 |  | 500 |  | 2500 | 0 | 3120 |  | 500 | 3620 | 4 | 14480 | 1295
[17 empty] | 75 |  | 1287.5
1 | NEW | 240V 40A | Attached | Panel in Garage | Same Panel | Same Capacity | 240 |  |  |  |  | 0 | 240 |  | 1500 | 1740 | 5 | 8700
1 | NEW | 240V 40A | Attached | Panel in Garage | Same Panel | Upgrade Capacity | 240 |  |  |  | 2500 | 0 | 2740 |  | 1500 | 4240 | 5 | 21200
1 | NEW | 240V 40A | Attached | Panel in House | Upgrade Panel | Same Capacity | 240 | 600 |  | 300 |  | 0 | 1140 |  | 1500 | 2640 | 5 | 13200
1 | NEW | 240V 40A | Attached | Panel in House | Upgrade Panel | Upgrade Capacity | 240 | 600 |  | 300 | 2500 | 0 | 3640 |  | 1500 | 5140 | 5 | 25700 | 3440
240V 40A
1 | NEW | 240V 40A | Detached | Panel in Garage | Same Panel | Same Capacity | 240 |  |  |  |  | 0 | 240 |  | 1500 | 1740 | 20 | 34800
1 | NEW | 240V 40A | Detached | Panel in Garage | Same Panel | Upgrade Capacity | 240 |  |  |  | 2500 | 0 | 2740 |  | 1500 | 4240 | 20 | 84800
1 | NEW | 240V 40A | Detached | Panel in House | Upgrade Panel | Same Capacity | 240 |  | 1000 | 300 |  | 0 | 1540 |  | 1500 | 3040 | 20 | 60800
1 | NEW | 240V 40A | Detached | Panel in House | Upgrade Panel | Upgrade Capacity | 240 |  | 1000 |  | 2500 | 0 | 3740 |  | 1500 | 5240 | 20 | 104800 | 3565
[17 empty] | 25 |  | 3540 | 1850.625
1 | RENOVATON | 120 V 20A | Attached | Panel in Garage | Existing Panel | Same Capacity | 120 | [5 empty] | 120 |  | 500 | 620 | 1 | 620
1 | RENOVATON | 120 V 20A | Attached | Panel in Garage | New Panel | Upgrade Capacity | 120 |  |  |  | 3000 |  | 3120 |  | 500 | 3620 | 1 | 3620
1 | RENOVATON | 120 V 20A | Attached | Panel in House | Existing Panel | Same Capacity | 120 | 300 | 1500 | 300 |  |  | 2220 |  | 500 | 2720 | 3 | 8160
1 | RENOVATON | 120 V 20A | Attached | Panel in House | New Panel | Upgrade Capacity | 120 | 300 | 1500 |  | 3000 |  | 4920 |  | 500 | 5420 | 8 | 43360 | 4289.2308
1 | RENOVATON | 120 V 20A | Detached | Panel in Garage | Existing Panel | Same Capacity | 120 | [5 empty] | 120 |  | 500 | 620 | 6 | 3720
1 | RENOVATON | 120 V 20A | Detached | Panel in Garage | Existing Panel | Same Capacity | 120 |  |  |  |  | 500 | 620 |  | 500 | 1120 | 12 | 13440
1 | RENOVATON | 120 V 20A | Detached | Panel in Garage | New Panel | Upgrade Capacity | 120 |  |  | 400 | 3000 |  | 3520 |  | 500 | 4020 | 17 | 68340
1 | RENOVATON | 120 V 20A | Detached | Panel in House | Existing Panel | Same Capacity | 120 |  | 1500 |  |  |  | 1620 |  | 500 | 2120 | 11 | 23320
1 | RENOVATON | 120 V 20A | Detached | Panel in House | Existing Panel | Same Capacity | 120 |  | 1500 |  |  | 500 | 2120 |  | 500 | 2620 | 20 | 52400
1 | RENOVATON | 120 V 20A | Detached | Panel in House | New Panel | Upgrade Capacity | 120 |  | 1500 | 400 | 3000 |  | 5020 |  | 500 | 5520 | 24 | 132480 | 3263.3333
[17 empty] | 75 |  | 3392.8155
1 | RENOVATON | 240V 40A | Attached | Panel in Garage | Existing Panel | Same Capacity | 240 | [5 empty] | 240 |  | 1500 | 1740 | 1 | 1740
1 | RENOVATON | 240V 40A | Attached | Panel in Garage | Existing Panel | Same Capacity | 240 |  |  |  |  | 500 | 740 |  | 1500 | 2240 | 4 | 8960
1 | RENOVATON | 240V 40A | Attached | Panel in Garage | New Panel | Upgrade Capacity | 240 |  |  | 400 | 3000 |  | 3640 |  | 1500 | 5140 | 2 | 10280
1 | RENOVATON | 240V 40A | Attached | Panel in Garage | New Panel | Upgrade Capacity | 240 |  |  | 400 | 3000 |  | 3640 |  | 1500 | 5140 | 2 | 10280
1 | RENOVATON | 240V 40A | Attached | Panel in House | Existing Panel | Same Capacity | 240 | 600 |  |  |  |  | 840 |  | 1500 | 2340 | 1 | 2340
1 | RENOVATON | 240V 40A | Attached | Panel in House | Existing Panel | Same Capacity | 240 | 600 |  |  |  | 500 | 1340 |  | 1500 | 2840 | 4 | 11360
1 | RENOVATON | 240V 40A | Attached | Panel in House | New Panel | Upgrade Capacity | 240 | 600 |  | 400 | 3000 |  | 4240 |  | 1500 | 5740 | 3 | 17220
1 | RENOVATON | 240V 40A | Attached | Panel in House | New Panel | Upgrade Capacity | 240 | 600 |  | 400 | 3000 |  | 4240 |  | 1500 | 5740 | 3 | 17220 | 3970
1 | RENOVATON | 240V 40A | Detached | Panel in Garage | Existing Panel | Same Capacity | 240 | [5 empty] | 240 |  | 1500 | 1740 | 6 | 10440
1 | RENOVATON | 240V 40A | Detached | Panel in Garage | Existing Panel | Same Capacity | 240 |  |  |  |  | 500 | 740 |  | 1500 | 2240 | 14 | 31360
1 | RENOVATON | 240V 40A | Detached | Panel in Garage | New Panel | Upgrade Capacity | 240 |  |  | 400 | 3000 |  | 3640 |  | 1500 | 5140 | 20 | 102800
1 | RENOVATON | 240V 40A | Detached | Panel in House | Existing Panel | Same Capacity | 240 |  | 2000 |  |  |  | 2240 |  | 1500 | 3740 | 6 | 22440
1 | RENOVATON | 240V 40A | Detached | Panel in House | Existing Panel | Same Capacity | 240 |  | 2000 |  |  | 500 | 2740 |  | 1500 | 4240 | 14 | 59360
1 | RENOVATON | 240V 40A | Detached | Panel in House | New Panel | Upgrade Capacity | 240 |  | 2000 | 400 | 3000 |  | 5640 |  | 1500 | 7140 | 20 | 142800 | 4615
[17 empty] | 25 |  | 4486 | 3666.1117
1815.4867
10 | RENOVATION Apartment | 120 V 20A | outdoor lot | Panel in apt Part 9 | Existing Panel | Same Capacity |  |  | 2000 |  |  |  | 2000 |  | 500 | 700 | 20 | 14000
10 | RENOVATION Apartment |  |  |  | New Panel | Upgrade Capacity |  |  | 2000 |  | 4500 |  | 6500 |  | 1500 | 2150 | 80 | 172000 | 1860
10 | RENOVATION Apartment | 240V 40A | outdoor lot | Panel in apt Part 9 | Existing Panel | Same Capacity |  |  | 2000 |  |  | 1500 | 3500 |  | 1500 | 1850 | 5 | 9250
10 | RENOVATION Apartment |  |  |  | New Panel | Upgrade Capacity |  |  | 2000 |  | 9000 |  | 11000 |  | 1500 | 2600 | 95 | 247000 | 2562.5
10 | RENOVATION Apartment | 600V 20A |  |  | New Panel | Upgrade Capacity | 100 |  | 2000 |  | 9000 |  | 11100 |  | 1500 | 2610 | 95 | 247950 | 2605
10 | NEW apartment | 120 V 20A | outdoor lot | Panel in apt Part 10 | New Panel | Upgrade Capacity | 150 |  | 1000 |  | 4500 |  | 7000 |  | 500 | 1200 | 50 | 60000 | 1200
10 | NEW apartment | 240V 40A | outdoor lot | Panel in apt Part 10 | New Panel | Upgrade Capacity | 200 |  | 1000 |  | 9000 | 1500 | 13500 |  | 1500 | 2850 | 20 | 57000 | 2850
10 | NEW apartment | 600V 20A | outdoor lot | Panel in apt Part 9 | New Panel | Upgrade Capacity | 150 |  | 1000 |  | 9000 | 1500 | 13000 |  | 1500 | 2800 | 30 | 84000 | 2800
[13 empty] | If LT | Fee
[13 empty] | 250 | 57
[13 empty] | 500 | 75
[13 empty] | 700 | 100
[13 empty] | 1000 | 129
[12 empty] | plus | 1000 | 46.5
[13 empty] | 10000 | 594
[12 empty] | plus | 1000 | 25